## Slide 1
Yiyan Li
Sensors and Systems
(Healthcare)

## Slide 2
General Types of Sensors
1, Resistor Sensors
2, Capacitor Sensors
3, Inductor Sensors
4, Potential Transformer Sensors
5, Eddy Current Sensors
6, Piezoelectric Transducers
7, Photoelectric Sensors
8, Thermoelectric Sensors
9, Thermocouple
10, Fiber Optic Sensor
11, Gas Sensors, Chemical Sensors, Biological Sensors
12, Accelerometers

## Slide 3: Index
1, Accelerate Sensors
2, Touch Screen
3, Resistive Sensors
4, Pressure Sensors
5, Photoelectric Sensors
6, Thermal Sensors

## Slide 4: The Role of Sensors in BME
Biomedical Electronics
Biomechanics
Cytotechnology and Histological Engineering
Bioinformatics
Detection
Delivering
Light, Current, Heat,
Ultrasound, et al
MRI, CT, X Ray, ECG, EEG, EMG, Heart Sound, Temperature, Blood Pressure, Image Processing, Signal Processing
Sensors

## Slide 5: The relationship between BME and EE
Biomedical Electronics
Image Processing
DSP
Industry
Research
Institution
Industry
Research
Institution
Embedded Systems
Industry
EE or ECE
Biomedical
Electronics
Using well developed chips and sensors (sometimes they build sensors themselves, such as MEMS) to build a system or solve problems in a new field.
From chips to systems, higher requirement. (VLSI and Computer Engineering)

## Slide 6
A sensor (also called detector) is a converter that measures a physical quantity and converts it into a signal which can be read by an observer or by an (today mostly electronic instrument.
Signals From the Environment
What is a Sensor / Transducer
Sensing
converting
Electronic Cirtuits and Devices
Output

## Slide 7: Requirements to Sensors
3, Portable
2, Accurate
1, Sensitive

## Slide 8
Fall Detection
1, Adults 70-Plus three times as likely to die following low-level falls [1].
2, Between 1993 and 2003, there was a 55 percent increase in the rate of fatal falls for elderly adults
3, It is now estimated that 30 percent of adults older than 65 years will experience an unintentional fall each year.
5, Approximately 4.5 percent of elderly patients (70 years and above) died following a ground-level fall, compared to 1.5 percent of non-elderly patients.
[1] The Journal of Trauma: Ingury, Infection, and Critical Care.

## Slide 9
Human Fall Detection using 3-Axis Accelerometer [2]
[2] Rogelio Reyna, Freescale Semiconductor
Fall Detection

## Slide 10
Input Data from the Triaxial Accelerometer
Fall Detection

## Slide 11
Simplified Accelerometer Functional Diagram
The Accelerometer (MMA1260Q)
Fall Detection

## Slide 12
3-axis accelerometer building block
An Example of Fall Detection System
1, Sensor
Fall Detection

## Slide 13
Digital Signal Controller Building Block
2, MCU
Fall Detection

## Slide 14
MC13192 (RF Tranceiver) Building Block
3, RF Tranceiver
Fall Detection

## Slide 15
RS-232 Circuit
4, Serial Port Tranceiver
Fall Detection

## Slide 16: 5, Power Supply and Peripherals
Power Supply Circuit
Tantalum capacitor
Fall Detection

## Slide 17
Power Supply Filters
EEPROM Memory Circuit
Ferrite Bead: used to reduce noise
Fall Detection

## Slide 18: Buzzer, Push Buttons, and LEDs
Fall Detection

## Slide 19
SPI (Serial Peripheral Interface) Bus
Fall Detection

## Slide 20
Fall Detection (Timing Sequence of SPI)

## Slide 21
Fall Detection

## Slide 22: RS-232
Fall Detection

## Slide 23
Fall Detection

## Slide 24
Fall Detection

## Slide 25
Fall Detection

## Slide 26: Baud Rate Creator (sending)
1, data sent to TXREG
2, Set TXIF
3, If TXIE enable, interrupt
4, Send data with the provided baud rate
Fall Detection

## Slide 27: Baud Rate Creator (Receiving)
1, When RSR is full, data is transferred to RCREG automatically, and RCIF is set
2, We need to clear RCIF in C, means RCIF=0, for the next set.
Fall Detection

## Slide 28: Touch Screen
Resistive touchscreen
Capacitive touchscreen
Infrared touchscreen
Surface acoustic wave (SAW) touchscreen
Strain gauge touchscreen
Optical imaging touchscreen
Dispersive signal technology touchscreen

## Slide 29: Resistive touchscreen
Structure:
Resistive touch screens consist of a glass or acrylic panel that is coated with electrically conductive and resistive layers made with indium tin oxide (ITO). The thin layers are separated by invisible spacers.
Touch Screen

## Slide 30: 4-wire resistive touchscreen
Touch Screen

## Slide 31
Touch Screen

## Slide 32: Capacitive touchscreen (projected)
Touch Screen

## Slide 33: Capacitive touchscreen
Touch Screen

## Slide 34
Iphone Touch Screen
Touch Screen

## Slide 35
Touch Screen

## Slide 36
Capacitive:
Available for multitouch
Not pressure sensitive, only available with fingers
less accurate
Resistive:
pressure sensitive, available with fingers, pens, and so on.
More accurate
Hard to support multitouch, such as zoom in and zoom out in your iphone and ipad
Resistive+Capacitive :
Galaxy Note
7-inch HTC Flyer
Touch Screen

## Slide 37: Resistive Sensors

## Slide 38: Potentiametric Sensors
Other R-resistors:
1, Thermistors (temperature-sensitive) are semiconductor type devices
2, Light-dependent resistors, or photoresistors, react to light.
Resistive Sensors

## Slide 39: Piezoresistive Effect
Lord Kelvin provided such an insight in 1856 when he showed that the
resistance of copper and iron wire change when the wires are subjected to
mechanical strain.
(W. Thomson (Lord Kelvin). The electro-dynamic qualities of metals. Phil.
Trans. Royal. Soc. (London). 146:733, 1856.)
Resistive Sensors

## Slide 40: Wheatstone bridge
If
If
Resistive Sensors

## Slide 41
Resistive Sensors

## Slide 42
Pressure Sensors
Charge Density:
d11: Piezoelectric Constant

## Slide 43
Pressure Sensors

## Slide 44
Output Signal from the Sensor Ranges from 0.2V-4.8V
Pressure Sensors

## Slide 45
Pressure Sensors

## Slide 46
Pressure Sensors

## Slide 47
Zero Point Calibration
Temperature Calibration
Temperature Calibration signal to Controller
Preamplifier (AD620)
Amplifier
Voltage Signal to Controller
Pressure Sensors

## Slide 48: Photoelectric Sensor

## Slide 49: Photoelectric Sensor
Switch
Light Meter

## Slide 50: Example of Photoelectric Sensor 1, Oxygen Saturation and Heart Rate
Photoelectric Sensor

## Slide 51: Photoelectric Sensor
Lamber-beer’s law
I=I0*10-E1*C1+E2*C2*L
I0: Input light intensity; I: Output light intensity; E1, E2 are absorptivity of oxyhemoglobin and Deoxyhemoglobin; C1 and C2 are density of oxyhemoglobin and Deoxyhemoglobin; L: the length of the light path
There are two variables, therefore, we have two different types of light , red light and infrared light.

## Slide 52: The Power Supply
VREF=1.3V
If VLIB is lower than 1.5V, LBO port changes to 0.
Photoelectric Sensor

## Slide 53: Communication with PC
The MAX3221 consists of one line driver, one line receiver
Photoelectric Sensor

## Slide 54: Photoelectric Sensor
Example of Photoelectric Sensor 1, Non-invasive blood glucose monitor
Diabetes:
A syndrome of disordered metabolism which causes abnormal blood glucose levels.
Type 1: Body cannot produce sufficient amount of insulin; and Type 2: insulin cannot be properly used.
It has been recognized as the seventh leading cause of death in the US
Long-term complications are very very very horrible. Such as Gangrene, Amputation, Blind, Slim down, and kidney problem.
Invasive monitors are the unique tool the measure blood glucose level

## Slide 55: Photoelectric Sensor
Clinical Blood Glucose Monitor

## Slide 56: Example of Photoelectric Sensor 1, Non-invasive blood glucose monitor
Schematic overview of operation of noninvasive blood glucose monitor
Absorbance Spectrum of Glucose
Photoelectric Sensor

## Slide 57: Photoelectric Sensor

## Slide 58: Photoelectric Sensor
Photovoltaic Mode

## Slide 59: Thermal Sensor
A thermolcouple measuring circuit with a heat source, cold junction and a measuring instrument
Thermocouple

## Slide 60: Digital Thermal Sensor
Thermal Sensor

## Slide 61: Thermal Sensor
Initializing
1, DQ=1; (reset)
2, Delay (2 us)
3, DQ=0;
4, Delay (750 us)
5, DQ=1;
6, Wait (15-60us), until the sensor return a 0, means that the sensor is ready
7, Delay (480us)
8, DQ=1, end

## Slide 62: Sensor write data to the bus
1, DQ=0
2, Delay (15us)
3, Sampling and sending data to the bus, begins with the lowest bit.
4, Delay (45us)
5, DQ=1
6, Repeat the 5 steps above, until one byte is sent.
Thermal Sensor

## Slide 63: MCU Read Data
1, DQ=1
2, Delay (2us)
3, DQ=0
4, Delay (6us)
5, DQ=1 (release the bus)
6, Delay (4us)
7, Read data
8, Delay (30us)
9, Repeat step 1-7, until a byte is read to the MCU.
Thermal Sensor